## Slide 1
BACTERIOLOGICAL ANALYSIS OF DRINKING WATER BY MPN METHOD
Class: III B.Sc MICROBIOLOGY
Dr. H. VAJIHA BANU
Assistant Professor
Department of Microbiology
Jamal Mohamed College (Autonomous)
Tiruchirappalli-620 020

## Slide 2: OBJECTIVES :
To enumerate the number of bacteria present in the drinking water by MPN method.
To identify the bacteria present in the drinking water sample.

## Slide 3: INTRODUCTION
Most probable number (MPN) analysis is a statistical method based on the random dispersion of microorganisms per volume in a given sample.
In this method, measured volumes of water is added to a series of tube containing a liquid indicator growth medium.
The media receiving one or more indicator bacteria show growth and a characteristic color change.
Color change is absent in those receiving an inoculums of water without indicator bacteria.

## Slide 4
From the number and distribution of positive and negative reactions, the MPN of indicator organisms in the sample may be estimated by reference to statistical tables.
MPN test is completed in three steps :
---- Presumptive test
---- Confirmed test
---- Completed test

## Slide 5: PRESUMPTIVE TEST
It is used for detection and estimation of coliform in water sample. For estimation of coliforms, lactose containing broth medium is used.
Commonly used medium is MacConkey broth that contains the indicator bromocresol purple.
An inverted Durham’s tube is placed.
The color of media changes into yellow and on collection of gas in Durham's tube, bacteria are assumed to be coliform.
Number of positive tubes are counted and referred to the standard chart to find MPN of total 100 ml water sample.

## Slide 6: CONFIRMED TEST
Some spore forming bacteria give false positive test in presumptive test.
Confirmed test is done to determine that the coliforms are of fecal origin or not. And they are
E. coli or not.
For this positive presumptive test are inoculated in selective media like Eosine Methylene Blue (EMB) agar and incubated at 44.5°Cand 37°C.
Presence of typical colonies at 37°C confirms positive coliform test and those at 44.5°C confirms the presence of E. coli.

## Slide 7: COMPLETED TEST
Subculture typical colonies in lactose containing medium and incubated at 37° C and 44.5 °C.
Presence of E. coli is confirmed by the production of gas at 44.5 °C.

## Slide 8: REQUIREMENTS :
Petridishes
Test tubes
Sampling bottle ( sterile)
MacConkey or Lactose broth
EMB agar, Nurtient agar
Durham’s tube
Test tube stand
Water sample

## Slide 9: PROCEDURES : FOR PRESUMPTIVE TEST
Prepare MacConkey purple media of single and
double strength in test tubes with Durham’s tube and autoclave it.
Take three sets of test tubes containing five tubes in each set ;one set with 10 ml of double strength (DS) other two containing 10 ml of single strength (SS) .
Using sterile pipettes , transfer 10 ml of water to each of DS broth tubes . Transfer 1 ml of water sample to each of 5 tubes of one set of SS broth and transfer 0.1 ml water to five tubes of remaining last set of SS broth tubes.

## Slide 10
Incubate the tubes at 37°C for 24 hours.
After incubation , observe the gas production in Durham’s tube and color change of the media.
Record the number of positive results from each set and compare with standard chart to give presumptive coliform count per 100 ml water sample.

## Slide 11: FOR CONFIRMED TEST
Take the positive tube from the presumptive test and using EMB in duplicate.
Incubate one plate at 37°C for 24 hours and another at 44.5°C for 24 hours.
Look for typical colonies in the media ; blue black with green metallic sheen colonies are of E. coli in EMB agar.

## Slide 12: COMPLETED TEST
Inoculate the colony in a tube of Lactose broth with Durham’s tube .
Subculture the colony on Nutrient agar plate. This subculture is considered optional.
Incubate the broth cultures at 37°C and 44.5°C and Nutrient agar at 37°C.
Examine for acid and gas production in Lactose broth
. The nutrient agar is used for Gram staining and for IMViC test.

## Slide 13
THANK YOU